SECTION 075416

ETHYLENE INTERPOLYMER (KEE) ROOFING

Make sure you display hidden notes in Microsoft Word to see notes to specifier

** NOTE TO SPECIFIER **  Hyload Roofing Systems; Coal Tar Elastomeric Roofing Membrane products.

This section is based on the products of Hyload Roofing Systems, which is located at:

5020 Enterprise Pkwy.

Seville, OH 44273

Toll Free: 800-457-4056

Phone: 330-769-3546

Fax: 330-769-4153

http://www.hyload.com/

Email: info@hyload.com

Hyload Inc. is a U.S. company with its corporate office in Seville, Ohio, and its manufacturing facility located in Wadsworth, Ohio.

Hyload, is part of IKO, a family business operating for more than 60 years providing global manufacturing and supply of quality roofing products including shingles, commercial roofing and asphaltic bituminous waterproofing products.

For the roofing and waterproofing markets, Hyload offers the unique benefit of including coal tar pitch as a key component in our Elvaloy® membranes. These Coal Tar Elastomeric Membranes (CTEM) combine the time-tested benefits of coal tar with today’s technological advancements. Our roofing line also offers a white membrane to meet the need for reflective roof assemblies, while our masonry flashing membranes offer additional color choices.

Hyload Elvaloy® membranes are represented by sales specialist firms in territories throughout the United States. Hundreds of millions of square feet of membrane have been installed since production began in the U.S. in 1982. Our technical service department and customer service personnel stand ready to serve our customers.

GENERAL

SECTION INCLUDES

** NOTE TO SPECIFIER **  Delete items below not required for project.

Cold Applied Coal-Tar Elastomeric Roofing System

Hot Applied Coal-Tar Elastomeric Roofing System

RELATED SECTIONS

** NOTE TO SPECIFIER **  Delete any sections below not relevant to this project; add others as required.

Section 05300 - Metal Roof Deck.

Section 06100 - Rough Carpentry.

Section 06114 - Wood Blocking and Curbing: Wood nailers and cant strips.

Section 07220 - Insulation Board: Insulation and fastening.

Section 07620 - Sheet Metal Flashing and Trim: Weather protection for base flashings.

Section 07710 - Manufactured Roof Specialties: Counter flashing gravel stops, and fascia.

Section 07724 - Roof Hatches: Frame and integral curb; Counter flashing.

Section 08620 - Unit Skylights: Skylight frame and integral curb and counter flashing.

Section 08630 - Metal-Framed Skylights: Skylight frame and integral curb and counter flashing.

Section 15120 - Piping Specialties:  Roof Drains, Sumps.

REFERENCES

** NOTE TO SPECIFIER **  Delete references from the list below that are not actually required by the text of the edited section.

ASTM D 312 - Standard Specification for Asphalt used in Roofing.

ASTM D 412 -

ASTM D 624 -

ASTM D 1863 - Standard Specification for Mineral Aggregate Used as a Protective Coating for Roofing.

ASTM D 2178 - Standard Specification for Asphalt Glass Felt Used in Roofing and Waterproofing.

ASTM D 2822 Standard Specification for Asphalt Roof Cement.

ASTM D 2824 - Standard Specification for Aluminum-Pigmented Asphalt Roof Coating.

ASTM D 4586 - 86, Specification for Asphalt Roof Cement, Asbestos Free

Factory Mutual Research (FM): Roof Assembly Classifications.

National Roofing Contractors Association (NRCA): Roofing and Waterproofing Manual.

Sheet Metal and Air Conditioning Contractors National Association, Inc. (SMACNA) - Architectural Sheet Metal Manual.

Underwriters Laboratories, Inc. (UL): Fire Hazard Classifications.

Warnock Hersey (WH): Fire Hazard Classifications.

ASCE 7-05, Minimum Design Loads for Buildings and Other Structures

UL - Fire Resistance Directory.

FM Approvals - Roof Coverings and/or RoofNav assembly database.

FBC - Florida Building Code.

Miami-Dade Building Code Compliance - N.O.A. (Notice of Acceptance).

DESIGN / PERFORMANCE REQUIREMENTS

Perform work in accordance with all federal, state and local codes.

** NOTE TO SPECIFIER ** Edit the following paragraphs as required and as appropriate to Code, and the Owner, or Owner's Insurance Underwriter requirements. Insurance underwriters will assess Owner's building for floor and roof assembly types and determine insurance premiums accordingly. Delete paragraphs that are inapplicable.

Exterior Fire Test Exposure: Roof system shall achieve a UL, FM or WH Class rating for roof slopes indicated on the Drawings as follows:

** NOTE TO SPECIFIER ** Delete roof class rating not required.

Factory Mutual Class A Rating.

Underwriters Laboratory Class A Rating.

Warnock Hersey Class A Rating.

** NOTE TO SPECIFIER ** Each of the following is necessary to determine the appropriate design wind pressure for roof components. All information must be appropriately inserted or selected.

Design Requirements:

Uniform Wind Uplift Load Capacity: ______

** NOTE TO SPECIFIER ** Retain the next two paragraphs only if Roof Coating is specified.

Energy Star: Roof System shall comply with the initial and aged reflectivity required by the U.S. Federal Government's Energy Star program.

LEED: Roof system shall meet the reflectivity and emissivity criteria to qualify for one point under the LEED credit category, Credit 7.2, Landscape & Exterior Design to Reduce Heat Island - Roof.

Roof System membranes containing recycled or bio-based materials shall be third party certified through UL Environment.

** NOTE TO SPECIFIER ** Edit the following paragraphs as required and as appropriate to Code, and the Owner's, or Owner's Insurance Underwriter requirements. Delete paragraphs that are inapplicable.

Roof system shall have been tested in compliance with the following codes and test requirements:

Florida FBC (For use outside Miami-Dade and Broward Counties):

Membrane Systems FL____

Roofing Underlayments FL_____

Roofing Cements and Coatings FL____

Miami-Dade County:

Self-Adhered Membrane Systems Over:

Concrete Decks N.O.A.

Lightweight Concrete Decks N.O.A.

Recover Decks N.O.A.

Steel Decks N.O.A.

Wood Decks N.O.A.

Mop Membrane Systems Over

Concrete Decks N.O.A.

Lightweight Concrete Decks N.O.A.

Recover Decks N.O.A.

Steel Decks N.O.A.

Wood Decks N.O.A.

Cool Roof Rating Council:

CRRC Directory CRRC ____

International Code Council Evaluation Service (ICC-ES):

Membrane Systems

_____

Roofing Underlayments

_____

_____

Texas Department of Insurance:

Product Evaluation RC-___

Underwriters Laboratories:

Certification TGFU.R________

Warnock Hersey

ITS Directory of Listed Products

FM Approvals:

RoofNav Website

SUBMITTALS

Submit under provisions of Section 01300.

Product Data:  Manufacturer's data sheets on each product to be used, including:

Preparation instructions and recommendations.

Storage and handling requirements and recommendations.

Installation methods.

Shop Drawings: Submit shop drawings including installation details of roofing, flashing, fastening, insulation and vapor barrier, including notation of roof slopes and fastening patterns of insulation and base modified bitumen membrane, prior to job start.

Verification Samples:  For each finish product specified, two samples, minimum size 6 inches (150 mm) square, representing actual product, color, and patterns.

Manufacturer's Certificates: Certify products meet or exceed specified requirements.

Closeout Submittals:  Provide manufacturer’s maintenance instructions that include recommendations for periodic inspection and maintenance of all completed roofing work. Provide product warranty executed by the manufacturer. Assist Owner in preparation and submittal of roof installation acceptance certification as may be necessary in connection with fire and extended coverage insurance on roofing and associated work.

QUALITY ASSURANCE

Manufacturer Qualifications: Company specializing in manufacturing products specified with a minimum of ten years of documented experience.

Installer Qualifications: Company specializing in performing Work of this section with minimum five years documented experience and a certified Pre-Approved Hyload Contractor.

Installer's Field Supervision: Maintain a full-time Supervisor/Foreman on job site during all phases of roofing work while roofing work is in progress.

Source Limitations: Obtain all components of roof system from a single manufacturer. Secondary products that are required shall be recommended and approved in writing by the roofing system Manufacturer. Upon request of the Architect or Owner, submit Manufacturer's written approval of secondary components in list form, signed by an authorized agent of the Manufacturer.

PRE-INSTALLATION MEETINGS

Convene minimum two weeks prior to commencing Work of this section.

Review installation procedures and coordination required with related Work.

Inspect and make notes of job conditions prior to installation:

Record minutes of the conference and provide copies to all parties present.

Identify all outstanding issues in writing designating the responsible party for follow-up action and the timetable for completion.

Installation of roofing system shall not begin until all outstanding issues are resolved to the satisfaction of the Architect.

DELIVERY, STORAGE, AND HANDLING

Deliver and store products in manufacturer's unopened packaging with labels intact until ready for installation.

Store all roofing materials in a dry place, on pallets or raised platforms, out of direct exposure to the elements until time of application. Store materials at least 4 inches above ground level and covered with "breathable" tarpaulins.

Stored in accordance with the instructions of the manufacturer prior to their application or installation. Store roll goods on end on a clean flat surface. No wet or damaged materials will be used in the application.

Store at room temperature wherever possible, until immediately prior to installing the roll. During winter, store materials in a heated location with a 50 degree F (10 degree C) minimum temperature, removed only as needed for immediate use. Keep materials away from open flame or welding sparks.

Avoid stockpiling of materials on roofs without first obtaining acceptance from the Architect/Engineer.

Adhesive storage shall be between the range of above 40 degree F (4 degree C) and below 80 degree F (27 degree C).  Area of storage shall be constructed for flammable storage.

COORDINATION

Coordinate Work of this section with associated roof mounted equipment, roof penetrations and related metal flashings as work of this section proceeds.

PROJECT CONDITIONS

Maintain environmental conditions (temperature, humidity, and ventilation) within limits recommended by manufacturer for optimum results.  Do not install products under environmental conditions outside manufacturer's absolute limits.

delete those not required. Various Hyload warranties are available. Warranties range from limited materials warranties to limited and full-systems warranties. Additional charges are required for non-prorated, no dollar limit warranties.

WARRANTY

** NOTE TO SPECIFIER **  Warranties will vary depending upon the type of roof system specified and the level of coverage desired. Warranties are available for up to twenty years.

Materials Warranty: Upon completion of the work, provide the Manufacturer's written and signed Limited Warranty, warranting that, if a leak develops in the roof during the term of this warranty, due to defective material, the manufacturer shall provide the Owner, at the Manufacturer's expense, with the material necessary to return the defective area to a watertight condition.

Warranty Period:

** NOTE TO SPECIFIER **   Select warranty length required and delete those not required.

10 years from date of acceptance.

15 years from date of acceptance.

20 years from date of acceptance.

Labor and Materials Warranty: Upon completion of the work, provide the Manufacturer's written and signed Limited Warranty, warranting that, if a leak develops in the roof during the term of this warranty, due to defective material, the manufacturer shall provide the Owner, at the Manufacturer's expense, with the labor and material necessary to return the defective area to a watertight condition.

Warranty Period:

** NOTE TO SPECIFIER **   Select warranty length required and delete those not required.

10 years from date of acceptance.

15 years from date of acceptance.

20 years from date of acceptance.

NDL System Warranty: Upon completion of the work, provide the Manufacturer's written and signed NDL Warranty, warranting that, if a leak develops in the roof during the term of this warranty, due either to defective material or defective workmanship by the installing contractor, the manufacturer shall provide the Owner, at the Manufacturer's expense, with the labor and material necessary to return the defective area to a watertight condition.

Warranty Period:

** NOTE TO SPECIFIER **   Select warranty length required and delete those not required.

10 years from date of acceptance.

15 years from date of acceptance.

20 years from date of acceptance.

** NOTE TO SPECIFIER **   Installer warranties are recommended and are becoming more common. Such warranties generally ensure a more vested interest in the integrity of the installation.  Two-year installer warranties are standard, but you may wish to increase the time period below.

Installer is to guarantee all work against defects in materials and workmanship for a period indicated following final acceptance of the Work.

Warranty Period:

** NOTE TO SPECIFIER **   Select warranty length required and delete those not required.

2 years from date of acceptance.

3 years from date of acceptance.

4 years from date of acceptance.

5 years from date of acceptance.

PRODUCTS

MANUFACTURERS

Acceptable Manufacturer:  Hyload Roofing Systems; 5020 Enterprise Pkwy., Seville, OH  44273.  ASD. Phone Toll Free: 800-457-4056. Phone: 330-769-3546. Fax: 330-769-4153. Web: www.hyload.com. Email: _____

** NOTE TO SPECIFIER **  Delete one of the following two paragraphs; coordinate with requirements of Division 1 section on product options and substitutions.

Substitutions:  Not permitted.

Requests for substitutions will be considered in accordance with provisions of Section 01600.

** NOTE TO SPECIFIER **  Select the Nailable or Non-Nailable System required from the following Cold Applied Coal-Tar Elastomeric Roof System paragraphs. Delete the paragraphs for the systems below not required for project.

COLD APPLIED HYLOAD WS ROOF SYSTEM DESCRIPTION

If an FM class 1 roof installation is required, consult Hyload for instructions.

Hyload WS System applied over Nailable deck of Plywood, Wood Plank, Lightweight Insulating Concrete, Structural Wood Fiber, Poured and Precast Gypsum with a minimum slope or dead level surface:

** NOTE TO SPECIFIER **   Select one of the following paragraphs for the Nailable Deck Type required from the following paragraphs as required for the project. Delete those not required.

Wood Plank / Plywood Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Lumber must be 1 inch (25 mm) nominal thickness and plywood a minimum of 15/32 inch (13 mm) thickness

Install one layer of red rosin sheeting paper end and side lapped 2 inches (51 mm) and secured to the wood deck by occasional nailing.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229  mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm) with approximately 100 nails per 100 sq.ft. (9.3 m cubed).

Wood Plank / Plywood Deck with Insulation:

Smooth, dry, solid and properly anchored.

Lumber must be 1 inch (25 mm) nominal thickness and plywood a minimum of 15/32 inch (13 mm) thickness

Install one layer of red rosin sheeting paper end and side lapped 2 inches (51 mm) and secured to the wood deck by occasional nailing.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229  mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm) with approximately 100 nails per 100 sq.ft. (9.3 m cubed).

Install approved roof insulation board. Use HyBond Insulation Adhesive. Overlay insulation boards may be set in HyBond Insulation Adhesive.

Light Weight Insulating Concrete Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Substrate must vent moisture to the underside.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229  mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm) with approximately 100 nails per 100 sq.ft. (9.3 m cubed).

Light Weight Insulating Concrete Deck with Insulation:

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally apply, a minimum 8 inch (203 mm) wide felt stripping centered on joint and set in troweling of asphaltic cement.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive.

Structural Wood Fiber Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229  mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm) with approximately 100 nails per 100 sq.ft. (9.3 m cubed).

Structural Wood Fiber Deck with Insulation:

Smooth, dry, solid and properly anchored.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229  mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm) with approximately 100 nails per 100 sq.ft. (9.3 m cubed).

Install approved roof insulation board. Use HyBond Insulation Adhesive. Overlay insulation boards may be set in HyBond Insulation Adhesive.

First ply of system must be one ply of base sheet set in Hyload self- adhered underlayment membrane.

Precast Gypsum Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally, a minimum 8 inch (203 mm) wide felt stripping centered on joint and set in troweling of asphaltic cement.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229  mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm) with approximately 100 nails per 100 sq.ft. (9.3 m cubed).

Precast Gypsum Deck with Insulation:

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally, a minimum 8 inch (203 mm) wide felt stripping centered on joint and set in troweling of asphaltic cement.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229  mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm) with approximately 100 nails per 100 sq.ft. (9.3 m cubed).

Install approved roof insulation board. Use HyBond Insulation Adhesive. Overlay insulation boards may be set in HyBond Insulation Adhesive.

** NOTE TO SPECIFIER **   Include the following paragraphs for the Hyload WS System as required for the project.

Coverboard: Hyload Hyglass Recover Board over insulation.

Primer: Prime coverboard with Hyprime. or other approved primer.

Membrane: Over the entire surface, install 1 ply of membrane lapping side laps 3 inches and end laps 6 inches such that the seams do not line up. Hot air weld all side and end laps. Check all laps with probe to assure they are sealed tightly.

** NOTE TO SPECIFIER **   Select one of the following two membrane paragraphs and delete the one not required.

Hyload WS 75-mils

Hyload WS 90-mils

Flashing: One layer of Hyload WS self-adhered welded seam flashing. Hot air weld all side and end laps. Check all laps with probe to assure they are sealed tightly.

** NOTE TO SPECIFIER **   Select one of the following two flashing paragraphs and delete the one not required.

Hyload WS 75-mils

Hyload WS 90-mils

Perimeter Membrane: All perimeter areas and projections shall be picture framed with a full-width roll of Hyload WS self-adhered welded seam membrane applied parallel to all perimeters with framing sheet overlapping field sheets a minimum of 12 inches. On perimeters that are already parallel to field sheets, no additional framing is required. Hot air weld all side and end laps. Check all laps with probe to assure they are sealed tightly.

** NOTE TO SPECIFIER **   Select one of the following perimeter membrane paragraphs and delete the ones not required.

Hyload WS 75-mils

Hyload WS 90-mils

** NOTE TO SPECIFIER **   Select the following optional paragraph for use with smooth surface only. Delete if not required.

Coating: Coat the entire surface with a reflective or decorative coating specified in accordance with the manufacturer recommendations.

Hyload CTEM System applied over Non-Nailable deck of Metal, Poured Concrete and Precast Concrete with a minimum slope or dead level surface:

** NOTE TO SPECIFIER **   Select one of the following paragraphs for the Non-Nailable Deck Type required from the following paragraphs as required for the project. Delete those not required.

Metal Deck with Insulation:

Smooth, dry, solid and properly anchored.

First layer of board type insulation shall be mechanically attached or set in HyBond Insulation Adhesive prior to the application of the roofing system.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. Overlay insulation boards may also be set HyBond Insulation Adhesive.

Poured Concrete Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Prime entire surface with HyPrime or other approved primer.

Poured Concrete Deck with Insulation:

Smooth, dry, solid and properly anchored.

Prime entire surface with HyPrime or other approved primer.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. For all other applications use Type III or IV asphalt. Overlay insulation boards may also be set in HyBond Insulation Adhesive.

Precast Concrete Deck with Insulation:

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally apply, a minimum 8 inch (203 mm) wide felt stripping centered on joint and set in troweling of asphaltic cement.

Prime entire surface with HyPrime or other approved primer.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. Overlay insulation boards may be set in HyBond Insulation Adhesive.

** NOTE TO SPECIFIER **   Include the following paragraphs for the Hyload WS System as required for the project.

Primer: Prime entire surface with HyPrime or other approved primer.

Vapor Retarder: HyBase SAM.

Insulation and attachment as specified.

Coverboard: Hyload Hyglass Recover Board over insulation.

Primer: Prime coverboard with Hyprime. or other approved primer.

Membrane: Over the entire surface, install 1 ply of membrane lapping side laps 3 inches and end laps 6 inches such that the seams do not line up. Hot air weld all side and end laps. Check all laps with probe to assure they are sealed tightly.

** NOTE TO SPECIFIER **   Select one of the following two membrane paragraphs and delete the one not required.

Hyload WS 75-mils

Hyload WS 90-mils

Flashing: One layer of Hyload WS self-adhered welded seam flashing. Hot air weld all side and end laps. Check all laps with probe to assure they are sealed tightly.

** NOTE TO SPECIFIER **   Select one of the following two flashing paragraphs and delete the one not required.

Hyload WS 75-mils

Hyload WS 90-mils

Perimeter Membrane: All perimeter areas and projections shall be picture framed with a full-width roll of Hyload WS self-adhered welded seam membrane applied parallel to all perimeters with framing sheet overlapping field sheets a minimum of 12 inches. On perimeters that are already parallel to field sheets, no additional framing is required. Hot air weld all side and end laps. Check all laps with probe to assure they are sealed tightly.

** NOTE TO SPECIFIER **   Select one of the following perimeter membrane paragraphs and delete the ones not required.

Hyload WS 75-mils

Hyload WS 90-mils

** NOTE TO SPECIFIER **   Select the following optional paragraph for use with smooth surface only. Delete if not required.

Coating: Coat the entire surface with a reflective or decorative coating specified in accordance with the manufacturer recommendations.

** NOTE TO SPECIFIER **  Select the products required from the following Cold Applied, or Self-Adhered Coal-Tar Elastomeric Roof System paragraphs. Delete the paragraphs not required for project.

COLD APPLIED ROOF SYSTEM PRODUCTS

If an FM class 1 roof installation is required, consult Hyload for instructions.

Self Adhering Welded Seam Membrane: Hyload WS welded seam membrane is a self-adhering, elastomeric sheet membrane, manufactured in a process that blends coal tar pitch with DuPont’s Elvaloy KEE, and is reinforced with dispersed polyester fibers. Membrane is compounded, calendered to thickness, and in a separate manufacturing process, the adhesive, release paper, and lay lines are added. Membrane has a 1-1/2 inch wide dry lap for hot air welding.

Overall Thickness:

75-mils

90-mils

Physical Properties:

Elongation: 170 percent, ASTM D 412;

Tensile Strength: 1600 lbs/in2, ASTM D 412;

Tear Strength: 300 ppi, ASTM D 624;

Density @ 70 degrees F: 80 lbs/ft3;

Low Temperature Flexibility: Pass, 37 GP 56M

Water Absorption: less than 0.1 percent, 37 GP 56M.

Approvals: Meets the requirements of Underwriters Laboratories for a Class A fire rating in various system configurations and Factory Mutual Class 1-90 in various system configurations.

Self Adhering Elastomeric Membrane (SAM): Hybase SAM, self-adhering elastomeric sheet membrane (SAM) blends DuPont Elvaloy KEE (ketone ethylene ester) with coal tar pitch with dispersed polyester fibers.. Membrane is compounded, calendered to thickness, and in a separate manufacturing process the adhesive, release paper, and lay lines are added.

Overall Thickness:

50-mils

60-mils

Physical Properties:

Elongation: ASTM D 412, 170%

Tensile Strength: ASTM D 412, 1500 lbs/in2

Tear Strength: ASTM D 624, 300 ppi

Density @ 70%: 80 lbs/ft2

Low Temperature Flexibility: 37-GP-56M, Pass

Water Absorption: 37-GP-56M, Less than 0.1%

Approvals: Meets the requirements of Underwriters Laboratories for a Class A fire rating in various system configurations and Factory Mutual Class 1-90 in various system configurations.

HyPrime Primer: Hyload Hyprime Primer is an acrylic polymer and highly refined asphalt primer with exceptional UV resistance, flexibility, and adhesiveness. Contains no VOC’s.

Insulation and Attachment: Insulation must be approved by Hyload for use with the assembly being installed. Fastening or adhesion must be completed in accordance with the insulation manufacturer’s specifications or the specification of others if more restrictive. When Factory Mutual, Underwriters Laboratories, SBCCI, or other code bodies apply, refer to the latest published information from such agencies for specific compliance requirements.

Coverboard: Hyload Hyglass Recover Board over insulation: Non-sanded prefabricated board with a mineral filled high melt point asphalt core, between non-woven glass fiber mats.  Thickness 3/16 inch, with a nominal board size of 4 feet by 5 feet.

Coating: Reflective or Decorative coatings ???

Walkway Pads – Commercial Innovations Walkway Pads: As recommended and furnished by the membrane manufacturer set in approved adhesive to control foot traffic on roof top surface and provide a durable system compliant non-slip walkway.

Cant Strip: Provide wood fiber where used for non-structural purposes.  Use treated wood where used for structural purposes meeting NRCA, FM Global and Underwriters Laboratory guidelines.  If solid wood cant is used where insulation exists, cant is to be toe nailed into treated solid wood nailer the same height as insulation.

Sealant: Hyload Structural Sealant moisture cure, moisture insensitive, high performance polyether sealant.

Adhesive Mastic: Hyload Trowel-On Membrane (TOM) waterproofing mastic that can be applied in beads from a 28 oz caulking tube or trowel-applied from 2 or 5 gallon pails.

HOT APPLIED ROOF SYSTEM DESCRIPTION

If an FM class 1 roof installation is required, consult Hyload for instructions.

If an FM class 1 roof installation is required, consult Hyload for instructions.If an FM class 1 roof installation is required, consult Hyload for instructions. If an FM class 1 roof installation is required, consult Hyload for instructions.

If an FM class 1 roof installation is required, consult Hyload for instructions.** NOTE TO SPECIFIER **  Select the Nailable or Non-Nailable System required from the following Hot Applied, or Self-Adhered Coal-Tar Elastomeric Roof System paragraphs. Delete the paragraphs for the systems below not required for project.

Hyload H150E System applied over Nailable deck of Plywood, Wood Plank, Lightweight Insulating Concrete, Structural Wood Fiber, Poured and Precast Gypsum with a minimum slope or dead level surface:

** NOTE TO SPECIFIER **   Select one of the following paragraphs for the Nailable Deck Type required from the following paragraphs as required for the project. Delete those not required.

Wood Plank / Plywood Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Lumber must be 1 inch (25 mm) nominal thickness and plywood a minimum of 15/32 inch (13 mm) thickness

Install one layer of red rosin sheeting paper end and side lapped 2 inches (51 mm) and secured to the wood deck by occasional nailing.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229 mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm). Approximately 100 nails per 100 sq.ft. (9.3 m cubed)

Wood Plank / Plywood Deck with Insulation:

Smooth, dry, solid and properly anchored.

Lumber must be 1 inch (25 mm) nominal thickness and plywood a minimum of 15/32 inch (13 mm) thickness

Install one layer of red rosin sheeting paper end and side lapped 2 inches (51 mm) and secured to the wood deck by occasional nailing.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229 mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm). Approximately 100 nails per 100 sq.ft. (9.3 m cubed)

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. For all other applications use Type III or IV asphalt. Overlay insulation boards may also be set in Type III or IV asphalt or HyBond Insulation Adhesive.

Light Weight Insulating Concrete Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Substrate must vent moisture to the underside.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229 mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm). Approximately 100 nails per 100 sq.ft. (9.3 m cubed)

Light Weight Insulating Concrete Deck with Insulation

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally, a minimum 8 inch (203 mm) wide felt stripping must be centered on joint and set in troweling of asphaltic cement.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. For all other applications use Type III or IV asphalt. Overlay insulation boards may also be set in Type III or IV asphalt or HyBond Insulation Adhesive.

Precast Gypsum Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally, a minimum 8 inch (203 mm) wide felt stripping must be centered on joint and set in troweling of asphaltic cement.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229 mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm). Approximately 100 nails per 100 sq.ft. (9.3 m cubed)

Precast Gypsum Deck with Insulation:

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally, a minimum 8 inch (203 mm) wide felt stripping must be centered on joint and set in troweling of asphaltic cement.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229 mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm). Approximately 100 nails per 100 sq.ft. (9.3 m cubed)

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. For all other applications use Type III or IV asphalt. Overlay insulation boards may also be set in Type III or IV asphalt or HyBond Insulation Adhesive.

Structural Wood Fiber Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229 mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm). Approximately 100 nails per 100 sq.ft. (9.3 m cubed)

Structural Wood Fiber Deck with Insulation:

Smooth, dry, solid and properly anchored.

Apply over entire surface one ply of base sheet lapping each sheet 3 inches (76 mm) over preceding sheet and nailing at lap no less than 9 inches (229 mm) on center. End laps shall be 6 inches (152 mm). Nail heads and/or metal caps must be a minimum diameter of 1 inch (25 mm). Approximately 100 nails per 100 sq.ft. (9.3 m cubed)

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. Overlay insulation boards may be set in HyBond Insulation Adhesive.

First ply of system must be one ply of base sheet set in a solid mopping of Type III or IV asphalt or one ply of a Hyload self-adhered underlayment membrane

** NOTE TO SPECIFIER **   Include the following paragraphs for the Hyload H150E System as required for the project.

Primer: Prime entire surface with HyPrime or other approved primer.

Vapor Retarder: HyBase SAM.

Insulation and attachment as specified.

Coverboard: Hyload Hyglass Recover Board over insulation.

Glass Ply Felt: Over the entire surface, apply 2 plies of Type IV or VI asphalt glass Ply Felt, lapping plies 19 inches. Mop each Ply felt with Type III or IV steep asphalt so that in no place shall felt touch felt.

Elastomeric Membrane Hyload H150E: Over the entire surface, apply H150E coal tar elastomeric membrane lapping side laps 3 inches and end laps 9 inches. H150E membrane shall be fully mopped with Type III or IV steep asphalt so that in no place shall membrane touch membrane.

Flashing: 1 ply of ALProof with Fleece set in bitumen.

** NOTE TO SPECIFIER **   If membrane is to be top poured and graveled, laps of the H150E can be mopped with asphalt except for flashing. If membrane is to be left smooth surfaced, end and side laps must be left dry so that they can be hot air welded.

Perimeter Membrane Hyload H150E: All perimeter areas and projections shall be picture framed with a full-width roll of elastomeric membrane applied parallel to all perimeters with framing sheet overlapping field sheets a minimum of 12 inches (300 mm). On perimeters that are already parallel to field sheets, no additional framing is required.

** NOTE TO SPECIFIER **   Select one of the two following paragraphs and delete the one not required.

Gravel Surface: Over the entire surface of the roofing membrane, pour a continuous coating of Type III or IV steep asphalt at the rate of 60 lbs per 100 SF, and while hot, apply not less than 500 pounds of aggregate per 100 SF

Smooth Surface: Hot air weld all H150E exposed side and end laps with a hot air machine. Check all laps with probe to assure laps are sealed tightly.

** NOTE TO SPECIFIER **   Select the following optional paragraph for use with smooth surface only. Delete if not required.

Coating: Coat the entire surface with a reflective or decorative coating in accordance with the manufacturer recommendations.

Hyload H150E System applied over Non-Nailable deck of Metal, Poured Concrete and Precast Concrete with a minimum slope or dead level surface:

** NOTE TO SPECIFIER **   Select one of the following paragraphs for the Nailable Deck Type required from the following paragraphs as required for the project. Delete those not required.

Metal Deck with Insulation

Smooth, dry, solid and properly anchored.

First layer of board type insulation shall be mechanically attached or set in HyBond Insulation Adhesive prior to the application of the roofing system.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. Overlay insulation boards may also be set HyBond Insulation Adhesive.

Poured Concrete Deck with No Insulation:

Smooth, dry, solid and properly anchored.

Prime entire surface with HyPrime or other approved primer.

Poured Concrete Deck with Insulation

Smooth, dry, solid and properly anchored.

Prime entire surface with HyPrime or other approved primer.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. For all other applications use Type III or IV asphalt. Overlay insulation boards may also be set in HyBond Insulation Adhesive.

Precast Concrete Deck with Insulation:

Smooth, dry, solid and properly anchored.

Joints and welded plates, where used, must be grouted with cementitious or gypsum grout feathered to provide a smooth gradual transition between adjacent panels. Additionally apply, a minimum 8 inch (203 mm) wide felt stripping centered on joint and set in troweling of asphaltic cement.

Prime entire surface with HyPrime or other approved primer.

Install approved roof insulation board. For metal decks mechanically fasten or use HyBond Insulation Adhesive. Overlay insulation boards may be set in HyBond Insulation Adhesive.

** NOTE TO SPECIFIER **   Include the following paragraphs for the Hyload H150E System as required for the project.

Primer: Prime entire surface with HyPrime or other approved primer.

Vapor Retarder: HyBase SAM.

Insulation and attachment as specified.

Coverboard: Hyload Hyglass Recover Board over insulation.

Glass Ply Felt: Over the entire surface, apply 2 plies of Type IV or VI asphalt glass Ply Felt, lapping plies 19 inches. Mop each Ply felt with Type III or IV steep asphalt so that in no place shall felt touch felt.

Elastomeric Membrane Hyload H150E: Over the entire surface, apply H150E coal tar elastomeric membrane lapping side laps 3 inches and end laps 9 inches. H150E membrane shall be fully mopped with Type III or IV steep asphalt so that in no place shall membrane touch membrane.

Flashing: 1 ply of ALProof with Fleece set in bitumen.

** NOTE TO SPECIFIER **   If membrane is to be top poured and graveled, laps of the H150E can be mopped with asphalt except for flashing. If membrane is to be left smooth surfaced, end and side laps must be left dry so that they can be hot air welded.

Perimeter Membrane Hyload H150E: All perimeter areas and projections shall be picture framed with a full-width roll of elastomeric membrane applied parallel to all perimeters with framing sheet overlapping field sheets a minimum of 12 inches (300 mm). On perimeters that are already parallel to field sheets, no additional framing is required.

** NOTE TO SPECIFIER **   Select one of the two following paragraphs and delete the one not required.

Gravel Surface: Over the entire surface of the roofing membrane, pour a continuous coating of Type III or IV steep asphalt at the rate of 60 lbs per 100 SF, and while hot, apply not less than 500 pounds of aggregate per 100 SF

Smooth Surface: Hot air weld all H150E exposed side and end laps with a hot air machine. Check all laps with probe to assure laps are sealed tightly.

** NOTE TO SPECIFIER **   Select the following optional paragraph for use with smooth surface only. Delete if not required.

Coating: Coat the entire surface with a reflective or decorative coating in accordance with the manufacturer recommendations.

** NOTE TO SPECIFIER **  Select the products required from the following Hot Applied, or Self-Adhered Coal-Tar Elastomeric Roof System paragraphs. Delete the paragraphs not required for project.

HOT APPLIED ROOF SYSTEM PRODUCTS

If an FM class 1 roof installation is required, consult Hyload for instructions.

Self Adhering Elastomeric Membrane (SAM): Hybase SAM, self-adhering elastomeric sheet membrane (SAM) blends DuPont Elvaloy KEE (ketone ethylene ester) with coal tar pitch with dispersed polyester fibers.. Membrane is compounded, calendered to thickness, and in a separate manufacturing process the adhesive, release paper, and lay lines are added.

Overall Thickness:

50-mils

60-mils

Physical Properties:

Elongation: ASTM D 412, 170%

Tensile Strength: ASTM D 412, 1500 lbs/in2

Tear Strength: ASTM D 624, 330 ppi

Density @ 70%: 80 lbs/ft2

Low Temperature Flexibility: 37-GP-56M, Pass

Water Absorption: 37-GP-56M, Less than 0.1%

Approvals: Meets the requirements of Underwriters Laboratories for a Class A fire rating in various system configurations and Factory Mutual Class 1-90 in various system configurations.

Hyload H150E Coal Tar Membrane: H150 Coal tar elastomeric membrane (CTEM) has a 60 mil overall calendered thickness and incorporates DuPont Elvaloy KEE (ketone ethylene ester), extended with coal tar pitch and reinforced with polyester fibers. Overall Thickness: 60 mils

Physical Properties:

Elongation: ASTM D 412, 170%

Tensile Strength: ASTM D 412, 1500 lbs/in2

Tear Strength: ASTM D 624, 300 ppi

Density @ 70%: 80 lbs/ft2

Low Temperature Flexibility: 37-GP-56M, Pass

Water Absorption: 37-GP-56M, Less than 0.1%

Approvals: Meets the requirements of Underwriters Laboratories for a Class A fire rating in various system configurations. HyBase SAM has Factory Mutual Class 1-90 approval in various system configurations.

HyPrime Primer: Hyload Hyprime Primer is an acrylic polymer and highly refined asphalt primer with exceptional UV resistance, flexibility, and adhesiveness. Contains no VOC’s.

ALProof with Fleece: Alproof is composed of an elastomeric blend of DuPont Elvaloy along with other unique ingredients reinforced with dispersed polyester fibers. Overall Thickness: 60 mils

Physical Properties:

Elongation: ASTM D 412, 170%

Tensile Strength: ASTM D 412, 1300 lbs/in2

Tear Strength: ASTM D 624, 270 ppi

Density @ 70%: 80 lbs/ft2

Low Temperature Flexibility: 37-GP-56M, Pass

Water Absorption: 37-GP-56M, Less than 0.1%

Approvals: Meets the requirements of Underwriters Laboratories for a Class A fire rating in various system configurations. ALProof has Factory Mutual Class 1-90 approval in various system configurations.

Insulation and Attachment:: Insulation must be approved by Hyload for use with the assembly being installed. Fastening or adhesion must be completed in accordance with the insulation manufacturer’s specifications or the specification of others if more restrictive. When Factory Mutual, Underwriters Laboratories, SBCCI, or other code bodies apply, refer to the latest published information from such agencies for specific compliance requirements.

Hyload Hyglass Recover Board: Non-sanded prefabricated board with a mineral filled high melt point asphalt core, between non-woven glass fiber mats.  Thickness 3/16 inch, with a nominal board size of 4 feet by 5 feet.

Glass Ply Felt: ASTM D 2178, Type III, IV or VI. (NO DATA ON WEB SITE)

Type III or IV steep asphalt: Conforming to ASTM D 312. (WHY ASPHALT WITH COAL TAR MEMBRANE?)

Gravel Surfacing: Aggregate conforming to ASTM D 1863; clean, sound, hard stone, free of clay, loam, sand, or other foreign substances, and shall conform to size grading and property requirements 1/4 inch (6 mm) minimum to 3/4 inch (19 mm) maximum size.

Coating: Reflective or Decorative coating ????

Walkway Pads – Commercial Innovations Walkway Pads: As recommended and furnished by the membrane manufacturer set in approved adhesive to control foot traffic on roof top surface and provide a durable system compliant non-slip walkway.

Cant Strip: Provide wood fiber where used for non-structural purposes.  Use treated wood where used for structural purposes meeting NRCA, FM Global and Underwriters Laboratory guidelines.  If solid wood cant is used where insulation exists, cant is to be toe nailed into treated solid wood nailer the same height as insulation.

Sealant: Hyload Structural Sealant moisture cure, moisture insensitive, high performance polyether sealant.

Adhesive Mastic: Hyload Trowel-On Membrane (TOM) waterproofing mastic that can be applied in beads from a 28 oz caulking tube or trowel-applied from 2 or 5 gallon pails.

EXECUTION

EXAMINATION

Do not begin installation until substrates have been properly prepared.

Inspect and approve the deck condition, slopes and fastener backing if applicable, parapet walls, expansion joints, roof drains, stack vents, vent outlets, nailers and surfaces and elements.

Verify that work penetrating the roof deck, or which may otherwise affect the roofing, has been properly completed.

If substrate preparation and other conditions are the responsibility of another installer, notify Architect of unsatisfactory preparation before proceeding.

** NOTE TO SPECIFIER ** The Architect/Structural Engineer must verify the structural capability and integrity of the roof deck system and for the proper design relationship among other building components for compatibility with the roof system specified and with the applicable code. All deck surfaces shall be constructed in a manner which will permits a positive slope to drain. A minimum roof slope of 1/4 inch is recommended to maximize long-term performance of the roof system. Drains shall be of sufficient number and size, and located so as to provide satisfactory and rapid drainage of the entire roof surface in accordance with the applicable Code.

PREPARATION

General: Clean surfaces thoroughly prior to installation.

Prepare surfaces using the methods recommended by the manufacturer for achieving the best result for the substrate under the project conditions.

Fill substrate surface voids that are greater than 1/4 inch wide with an acceptable fill material.

Roof surface to receive roofing system shall be smooth, clean, free from loose gravel, dirt and debris, dry and structurally sound.

Wherever necessary, all surfaces to receive roofing materials shall be power broom and vacuumed to remove debris and loose matter prior to starting work.

Do not apply roofing during inclement weather. Do not apply roofing membrane to damp, frozen, dirty, or dusty surfaces.

** NOTE TO SPECIFIER ** Verify the pull-out capability by the applicable code and modify the following if required. If in doubt, contact the manufacturer.

Fasteners and plates for fastening components mechanically to the substrate shall provide a minimum pull-out capacity of 300 lbs. (136 k) per fastener. Base or ply sheets attached with cap nails require a minimum pullout capacity of 40 lb. per nail.

Prime decks where required, in accordance with requirements and recommendations of the primer and deck manufacturer.

** NOTE TO SPECIFIER ** Edit the following paragraphs as required. Include the surfaces to which the roofing will be applied and delete those not required. Contact the manufacturer for surfaces not listed.

Metal Deck: Metal deck shall be installed as specified in Section 05300.

Fastening of the deck should comply with the anticipated live and dead loads pertaining to the building as well as applicable Code.

Steel decks shall be minimum 22-gauge factory galvanized or zinc alloy coated for protection against corrosion.

Suitable insulation shall be mechanically attached as recommended by the insulation manufacturer.

Decks shall comply with the gauge and span requirements in the current Factory Mutual FM Approval Guide and be installed in accordance with Loss Prevention Data Sheet 1-28 or specific FM approval.

When re-roofing over steel decks, surface corrosion shall be removed, and repairs to severely corroded areas made. Loose or inadequately secured decking shall be fastened, and irreparable or otherwise defective decking shall be replaced.

Wood Deck:

Dimensional wood deck shall be minimum 1 inch (25 mm) thick, knotholes and cracks larger than 1/4 inch shall be covered with sheet metal. All boards shall be appropriately nailed and have adequate end bearing to the centers of beams/rafters. Lumber shall be kiln dried.

Plywood shall be a minimum 15/32 inch (11.9 mm) thick and conform to the standards and installation requirements of the American Plywood Association (APA).

If no roof insulation is specified, provide a suitable dry sheathing paper, followed by an approved base sheet nailed appropriately for the specified roof system, with 1 inch (25 mm) diameter caps and annular nails unless otherwise required by the applicable Code or Approval agency.

Insulation is to be mechanically attached in accordance with the insulation manufacturer’s recommendations unless otherwise required by the applicable Code.

In all retrofit roof applications, it is required that deck be inspected for defects. Any defects are to be corrected per the deck manufacturer's recommendations and standards of the APA/Engineered Wood Association prior to new roof application.

Light metal wall ties or other structural metal exposed on top of the wood deck shall be covered with one ply of a heavy roofing sheet, such as HPR Glasbase Base Sheet, extending 2 inches to 6 inches (51 mm to 152 mm) beyond the metal in all directions. Nail in place before applying the base ply.

Precast concrete:

Decks shall be clean, dry, fully cured and free of flaws and attached securely to the supporting structure as recommended by the deck manufacturer.

All joints shall be caulked or grouted.

Concrete surfaces to receive roofing shall be fully primed at the rate of 1 gallon per 100 sq. ft.

When applying roofing or insulation directly to the deck with asphalt, prime with asphalt/concrete primer, ASTM D41, at a rate of 1 gal/square (.4 L/m2) and allow the primer to dry prior to the application of the roofing system. Hold back bitumen at the joints approximately 4 inches (102 mm) to prevent bitumen drippage.

Deck joints shall be stripped in with a 12 inch (305 mm) wide strip of modified membrane unadhered a minimum of 2 inches (51 mm) immediately on either side of the joint.

Poured reinforced concrete

Shall be smooth, dry, clean and free of ice/frost, projections and depressions. Concrete shall be fully cured and the surface shall be broom cleaned and free of release/curing agents prior to commencement of work.

Prepared concrete surfaces for roofing or insulation by priming with asphalt/concrete primer conforming to ASTM D 41. Apply at a rate of approx. 1 gallon/100 sq. ft. (.4 L/m2). All primed areas shall be fully dried before proceeding with the application of the roof system. Hold back bitumen at the joints approximately 4 inches (102 mm) to prevent bitumen drippage.

Lightweight Insulating Concrete Deck

Lightweight insulating concrete decks are required to have a minimum thickness of 2 inches (51 mm), a minimum compressive strength of 125 psi (0.86 MPa) and a minimum density of 22 pcf (352 kg/sm).

Install roof system immediately following deck curing to prevent damage from exposure to precipitation.  The deck manufacturer determines the minimum curing time and maximum exposure limitations.

LWIC shall not be poured during rainy periods. Deck areas that have frozen before they have cured shall be removed and replaced. Decks which receive precipitation prior to installation of the roof membrane shall be checked for moisture content and dryness.

Lightweight insulating concrete decks are acceptable only on slopes up to 1 inch per foot (83 mm/m).

Do not attach insulation directly to lightweight concrete decks. Over old, dry decks, additional board insulation may be solidly mopped to an approved mechanically attached anchor sheet (base sheet).

Cementitious Wood Fiber

Protect decks from the weather during storage and application. Any wet or deformed decking shall be removed and replaced.

Cementitious wood fiber decks shall not be installed over high humidity occupancies.

Cementitious wood fiber decks shall have a minimum design load as recommended by the deck manufacturer.

Anchor cementitious wood fiber deck panels against uplift and lateral movement.

Install deck level.  Correct or replace deck with any deflection, irregularities, or otherwise damaged panels.

Install a mechanically attached base sheet prior to installation of insulation or roofing membrane.

Gypsum

Gypsum decks shall be smooth and free from deflections or ridges.

An average fastener withdrawal resistance as recommended by the fastener manufacturer shall be obtained; however, at no time shall it be less than 40 lbs. (178 N) per fastener.

Wet or frozen poured gypsum decks are not suitable to receive a roof.

Poured-in-place gypsum roof decks contain a large percentage of moisture. All necessary precautions shall be taken to avoid the entrapment of moisture under the roofing system. In addition to ventilation of the underside to allow for proper curing, topside and perimeter venting shall be implemented.

Install a mechanically attached base sheet prior to installation of insulation or roofing membrane.

** NOTE TO SPECIFIER ** Include the following paragraph for self-adhered roof systems. Delete if not applicable.

Deck Preparation for Self-Adhered Roof System: Insulation shall be installed as specified in Section 05300. Sweep or blow away any dust, dirt or sand particles that could interfere with adhesion to approved substrate.

** NOTE TO SPECIFIER ** Edit the following two paragraphs as required. Contact Manufacturer for recommendations in any situation, which involves other deck types for new or unusual deck construction.

Other deck types:

** NOTE TO SPECIFIER ** Include the following paragraph for reroofing applications only. Delete if not applicable.

Re-Roofing Applications:

Remove existing roof flashings from curbs and parapet walls down to the surface of the roof. Remove existing flashings at roof drains and roof penetrations.

Remove all wet, deteriorated, blistered or delaminated roofing membrane or insulation and fill in any low spots occurring as a result of removal work to create a smooth, even surface for application of new roof membranes.

Install new wood nailers as necessary to accommodate insulation/recovery board or new nailing patterns.

When mechanically attached, the fastening pattern for the insulation/recovery board shall be as recommended by the specific product manufacturer.

Re-roofing over coal tar pitch requires a mechanically attached recovery board or insulation and a base sheet prior to the application of roofing system.

Existing roof surfaces shall be primed as necessary with asphalt primer meeting ASTM D 41 and allowed to dry prior to installing the roofing system.

INSTALLATION – GENERAL

Application of materials shall be in strict accordance with the manufacturer's recommendations and current NRCA, Underwriters Laboratory and IBC guidelines, except where more stringent requirements are shown or specified.  In the instance of a conflict between these specifications and those of the manufacturer and/or current NRCA, Underwriters Laboratory and IBC guidelines, the more stringent specifications shall take precedence.

** NOTE TO SPECIFIER **  The following paragraphs include system installation requirements for Cold Applied, Hot Applied, Torch Applied and Self-Adhered Systems. Select the paragraphs for the System specified above under PRODUCTS and delete those not required.

** NOTE TO SPECIFIER **  The following paragraphs include system installation requirements for Cold Applied Two-Ply/Three-ply Asphalt/Coal Tar Based Specification: Base sheet and modified cap set in Interply Adhesive: Specification includes multiple flashings and surfacing options.

INSTALLATION COLD APPLIED ROOF SYSTEM

** NOTE TO SPECIFIER **  The following paragraph should only be included if the nailable base sheet option is specified above.

Nailable Base Sheet: Install base sheet nailed to the substrate with the appropriate fastener and fastening pattern determined from your wind uplift calculation.

Base Ply: Cut base ply sheets into 18 foot lengths and allow plies to relax before installing. Install base sheet in Interply Adhesive: applied at the rate required by the manufacturer. Shingle base sheets uniformly to achieve one ply throughout over the prepared substrate. Shingle in proper direction to shed water on each large area of roofing.

Lap ply sheet ends 8 inches. Stagger end laps 12 inches minimum.

Solidly bond to the substrate and adjacent ply with specified cold adhesive at the rate of 2 to 2-1/2 gallons per 100 square feet.

Roll must push a puddle of adhesive in front of it with adhesive slightly visible at all side laps. Use care to eliminate air entrapment under the membrane.

Install subsequent rolls of modified across the roof as above with a minimum of 4 inch side laps and 8 inch staggered end laps. Lay modified membrane in the same direction as the underlayers but the laps shall not coincide with the laps of the base layers.

Extend plies 2 inches beyond top edges of cants at wall and projection bases.

Install base flashing ply to all perimeter and projection details.

Allow the one ply of base sheet to cure at least 30 minutes before installing the modified membrane. However, the modified membrane must be installed the same day as the base plies.

Modified Cap Ply(s): Cut cap ply sheets into 18 foot lengths and allow plies to relax before installing. Install in interplay adhesive applied at the rate required by the manufacturer. Shingle sheets uniformly over the prepared substrate to achieve the number of plys specified. Shingle in proper direction to shed water on each large area of roofing.

Lap ply sheet ends 8 inches. Stagger end laps 12 inches minimum.

Solidly bond to the base layers with specified cold adhesive at the rate of 2 to 2-1/2 gallons per 100 square feet.

Roll must push a puddle of adhesive in front of it with adhesive slightly visible at all side laps. Care should be taken to eliminate air entrapment under the membrane.

Install subsequent rolls of modified across the roof as above with a minimum of 4 inch side laps and 8 inch staggered end laps. Lay modified membrane in the same direction as the underlayers but the laps shall not coincide with the laps of the base layers.

Allow cold adhesive to set for 5 to 10 minutes before installing the top layer of modified membrane.

Extend membrane 2 inches beyond top edge of all cants in full moppings of the cold adhesive as shown on the Drawings.

Fibrous Cant Strips: Provide non-combustible perlite or glass fiber cant strips at all wall/curb detail treatments where angle changes are greater than 45 degrees. Cant may be set in approved cold adhesives, hot asphalt or mechanically attached with approved plates and fasteners.

Wood Blocking, Nailers and Cant Strips: Provide wood blocking, nailers and cant strips as specified in Section 06114.

Provide nailers at all roof perimeters and penetrations for fastening membrane flashings and sheet metal components.

Wood nailers should match the height of any insulation, providing a smooth and even transition between flashing and insulation areas.

Nailer lengths should be spaced with a minimum 1/8 inch gap for expansion and contraction between each length or change of direction.

Nailers and flashings should be fastened in accordance with Factory Mutual “Loss Prevention Data Sheet 1–49, Perimeter Flashing” and be designed to be capable of resisting a minimum force of 200 lbs/lineal foot in any direction.

Metal Work: Provide metal flashings, counter flashings, parapet coping caps and thru-wall flashings as specified in Section 07620 or Section 07710. Install in accordance with the SMACNA ”Architectural Sheet Metal Manual” or the NRCA Roofing Waterproofing manual.

Termination Bar: Provide a metal termination bar or approved top edge securement at the terminus of all flashing sheets at walls and curbs. Fasten the bar a minimum of 8 inches (203 mm) o/c to achieve constant compression. Provide suitable, sealant at the top edge if required.

Flashing Base Ply: Install flashing sheets by the same application method used for the base ply.

Seal curb, wall and parapet flashings with an application of mastic and mesh on a daily basis. Do not permit conditions to exist that will allow moisture to enter behind, around or under the roof or flashing membrane.

Prepare all walls, penetrations, expansion joints and where shown on the Drawings to be flashed with required primer at the rate of 100 square feet per gallon. Allow primer to dry tack free.

Adhere to the underlying base ply with specified flashing ply adhesive unless otherwise specified. Nail off at a minimum of 8 inches (203 mm) o.c. from the finished roof at all vertical surfaces.

Solidly adhere the entire flashing ply to the substrate. Secure the tops of all flashings that are not run up and over curb through termination bar fastened at 6 inches (152 mm) O.C. and sealed at top.

Seal all vertical laps of flashing ply with a three-course application of trowel-grade mastic and fiberglass mesh.

Coordinate counter flashing, cap flashings, expansion joints and similar work with modified bitumen roofing work as specified.

Coordinate roof accessories, miscellaneous sheet metal accessory items, including piping vents and other devices with the roofing system work.

Secure the top edge of the flashing sheet using a termination bar only when the wall surface above is waterproofed, or nailed 4 inches on center and covered with an acceptable counter flashing.

** NOTE TO SPECIFIER ** Select the Surfacing required for the roof system specified from the following three paragraphs and delete those not required.

Flood Coat/Aggregate:

Install after cap sheets and modified flashing, tests, repairs and corrective actions have been completed and approved.

Apply flood coat materials in the quantities recommended by the manufacturer.

Uniformly embed aggregate in the flood coat of cold adhesive at a rate recommended by the manufacturer.

Aggregate must be dry and placed in a manner required to form a compact, embedded overlay. To aid in embedment, lightly roll aggregate.

Flashing Cap Ply: Install flashing cap sheets by the same application method used for the base ply.

Seal curb, wall and parapet flashings with an application of mastic and mesh on a daily basis. Do not permit conditions to exist that will allow moisture to enter behind, around or under the roof or flashing membrane.

Prepare all walls, penetrations, expansion joints and where shown on the Drawings to be flashed with required primer at the rate of 100 square feet per gallon. Allow primer to dry tack free.

Adhere to the underlying base flashing ply with specified flashing ply adhesive unless otherwise specified. Nail off at a minimum of 8 inches (203 mm) o.c. from the finished roof at all vertical surfaces.

Coordinate counter flashing, cap flashings, expansion joints and similar work with modified bitumen roofing work as specified.

Coordinate roof accessories, miscellaneous sheet metal accessory items with the roofing system work.

All stripping shall be installed prior to flashing cap sheet installation.

Heat and scrape granules when welding or adhering at cut areas and seams to granular surfaces at all flashings.

Secure the top edge of the flashing sheet using a termination bar only when the wall surface above is waterproofed, or nailed 4 inches on center and covered with an acceptable counter flashing.

Surface Coatings: Apply roof coatings in strict conformance with the manufacturer’s recommended procedures.

Roof Walkways: Provide walkways in areas indicated on the Drawings.

** NOTE TO SPECIFIER **  The following paragraphs include system installation requirements for Hot Applied Two-Ply/Three-ply Asphalt/Coal Tar Based Specification: Base sheet and modified cap set in Interply Adhesive: Specification includes multiple flashings and surfacing options.

INSTALLATION HOT APPLIED ROOF SYSTEM

** NOTE TO SPECIFIER **  The following paragraph should only be included if the nailable base sheet option is specified above.

Nailable Base Sheet: Install base sheet nailed to the substrate with the appropriate fastener and fastening pattern determined from your wind uplift calculation.

Base/Felt Ply(s): Install base sheet or felt plies in twenty five (25) lbs (11.3kg) per square of bitumen shingled uniformly to achieve one or more plies over the entire prepared substrate. Shingle in direction of slope of roof to shed water on each area of roof. Do not step on base rolls until asphalt has cooled, fish mouths should be cut and patched.

Lap ply sheet ends 8 inches (203 mm). Stagger end laps 2 inches (304mm) minimum.

Install base flashing ply to all perimeter and projection details after membrane application.

Extend plies 2 inches beyond top edges of cants at wall and projection bases.

Install base flashing ply to all perimeter and projection details.

Allow the one ply of base sheet to cure at least 30 minutes before installing the modified membrane. However, the modified membrane must be installed the same day as the base plies.

Modified Cap Ply(s): Solidly bond the modified membrane to the base layers with specified material at the rate of 25 to thirty 30 lbs. (11-13kg) per 100 square feet.

Roll must push a puddle of hot material in front of it with material slightly visible at all side laps. Use care to eliminate air entrapment under the membrane. Exercise care during application to eliminate air entrapment under the membrane.

Apply pressure to all seams to ensure that the laps are solidly bonded to substrate.

Install subsequent rolls of modified membrane as above with a minimum of 4 inch (101 mm) side laps and 8 inch (203 mm) end laps. Stagger end laps. Apply membrane in the same direction as the previous layers but stagger the laps so they do not coincide with the laps of the base layers.

Apply hot material no more than 5 feet (1.5 m) ahead of each roll being embedded.

Extend membrane 2 inches (50 mm) beyond top edge of all cants in full moppings of the specified hot material.

Fibrous Cant Strips: Provide non-combustible perlite or glass fiber cant strips at all wall/curb detail treatments where angle changes are greater than 45 degrees. Cant may be set in approved cold adhesives, hot asphalt or mechanically attached with approved plates and fasteners.

Wood Blocking, Nailers and Cant Strips: Provide wood blocking, nailers and cant strips as specified in Section 06114.

Provide nailers at all roof perimeters and penetrations for fastening membrane flashings and sheet metal components.

Wood nailers should match the height of any insulation, providing a smooth and even transition between flashing and insulation areas.

Nailer lengths should be spaced with a minimum 1/8 inch gap for expansion and contraction between each length or change of direction.

Nailers and flashings should be fastened in accordance with Factory Mutual “Loss Prevention Data Sheet 1–49, Perimeter Flashing” and be designed to be capable of resisting a minimum force of 200 lbs/lineal foot in any direction.

Metal Work: Provide metal flashings, counter flashings, parapet coping caps and thru-wall flashings as specified in Section 07620 or Section 07710. Install in accordance with the SMACNA ”Architectural Sheet Metal Manual” or the NRCA Roofing Waterproofing manual.

Termination Bar: Provide a metal termination bar or approved top edge securement at the terminus of all flashing sheets at walls and curbs. Fasten the bar a minimum of 8 inches (203 mm) o/c to achieve constant compression. Provide suitable, sealant at the top edge if required.

Flashing Base Ply: Install flashing sheets by the same application method used for the base ply.

Seal curb, wall and parapet flashings with an application of mastic and mesh on a daily basis. Do not permit conditions to exist that will allow moisture to enter behind, around or under the roof or flashing membrane.

Prepare all walls, penetrations, expansion joints and surfaces to be flashed with required primer at the rate of 100 square feet per gallon. Allow primer to dry tack free.

Adhere to the underlying base flashing ply with specified hot material unless otherwise noted in these specifications. Nail off at a minimum of 8 inches (203 mm) o.c. from the finished roof at all vertical surfaces.

Solidly adhere the entire sheet of flashing membrane to the substrate.

Seal all vertical laps of flashing membrane with a three-course application of trowel-grade mastic and mesh.

Coordinate counter flashing, cap flashings, expansion joints, and similar work with modified bitumen roofing work as specified.

Coordinate roof accessories, miscellaneous sheet metal accessory items, including piping vents and other devices with the roofing system work.

** NOTE TO SPECIFIER ** Select the Surfacing required for the roof system specified from the following paragraphs and delete those not required.

Flood Coat/Aggregate:

Install after cap sheets and modified flashing, tests, repairs and corrective actions have been completed and approved.

Apply flood coat materials in the quantities recommended by the manufacturer.

Uniformly embed aggregate in the flood coat of cold adhesive at a rate recommended by the manufacturer.

Aggregate must be dry and placed in a manner required to form a compact, embedded overlay. To aid in embedment, lightly roll aggregate.

Flashing Cap Ply: Install flashing cap sheets by the same application method used for the base ply.

Seal curb, wall and parapet flashings with an application of mastic and mesh on a daily basis. Do not permit conditions to exist that will allow moisture to enter behind, around or under the roof or flashing membrane.

Prepare all walls, penetrations, expansion joints and where shown on the Drawings to be flashed with required primer at the rate of 100 square feet per gallon. Allow primer to dry tack free.

Adhere to the underlying base flashing ply with specified flashing ply adhesive unless otherwise specified. Nail off at a minimum of 8 inches (203 mm) o.c. from the finished roof at all vertical surfaces.

Coordinate counter flashing, cap flashings, expansion joints and similar work with modified bitumen roofing work as specified.

Coordinate roof accessories, miscellaneous sheet metal accessory items with the roofing system work.

All stripping shall be installed prior to flashing cap sheet installation.

Heat and scrape granules when welding or adhering at cut areas and seams to granular surfaces at all flashings.

Secure the top edge of the flashing sheet using a termination bar only when the wall surface above is waterproofed, or nailed 4 inches on center and covered with an acceptable counter flashing.

Surface Coatings: Apply roof coatings in strict conformance with the manufacturer’s recommended procedures.

Roof Walkways: Provide walkways in areas indicated on the Drawings.

PROTECTION

Protect installed products until completion of project.

Touch-up, repair or replace damaged products before Substantial Completion.

SCHEDULES

** NOTE TO SPECIFIER ** Retain Paragraph below if required to suit project requirements. Identify products by name on the Drawings or use this paragraph to define the location of each type of material to be used. The following are some examples of schedule references. Edit as required to suit project or delete and identify products on the Drawings.

:

:

END OF SECTION